CMOP 2008-Apr Wecoma Cruise W0804A Report

Project title: Science and Technology Center for Coastal Margin Observation and Prediction (NSF-STC)

10-17 April 2008

Research Vessel

R/V Wecoma; Captain: Richard Verlini

Scientists

Chief Scientist: Lydie Herfort (OSHU)

Scientific crew: Wiley Evans, Craig Risien, Walter Waldorf, Chris Holm, Murray Levine, David Rivas, Chris Moser (OSU); Joanna Green (UMCES); Suzanne DeLorenzo, Charles Seaton, Mikaela Selby (OHSU)

Carme Huguet (UW)

Marine Technician: Dave O’Gorman (OSU)

Sampling Area

Coastal Oregon and Washington, Columbia River and its Estuary

________________________________________________________________________

Cruise Report Contents

- Activities

- Methods

- Contact Information

- Tables and Figures

________________________________________________________________________

I. Activities

Objectives of this cruise were:

- Mooring placement at station NH-10 along the Newport Hydroline and recover and deploy ADCP mooring.

- Occupy a grid of stations over the Oregon and Washington continental shelf and slope to measure hydrographic (T, S, pressure), bio-optical (chlorophyll fluorescence, light transmission) and chemical (nitrate, dissolved oxygen) parameters. Combine these data with ADCP measurements of subsurface velocity to explore biophysical interactions.

- Collect water samples for membrane lipid and DNA- and RNA-based microbial community analyses, bacterial and primary production rates and water chemistry studies across environmental gradients in pelagic environments of the Columbia River estuary, the Columbia River plume, the Columbia River at Beaver Army Dock and along established sampling lines along the Oregon and Washington coasts. We will carry incubations on deck.

- Collecting surface sediments in Columbia River, estuary, plume and at a few sites on coastal lines using a multicore, boxcorer and grab sampler.

- Make continuous measurements of surface water chemistry with several devices attached to the continuous flow seawater system. cDOM fluorometer will be added to the flow-thru system (provided by CMOP).

- Feature Tracking exercise using the SWAP system and model-based now-cast/forecast system to follow the Columbia River Plume.

The ship was loaded at the Hatfield Marine Science Center dock in Newport, OR on 31 October 2007, and departed the following morning.  Throughout the cruise a set of instruments was attached to the surface water flow-through system of the Wecoma.  This surface water mapping system passes surface water through a series of sensors to measure transmission (particles), fluorescence, salinity, temperature, dissolved oxygen and dissolved CO2.  Dale Hubbard and Wiley Evans set up and monitored this system. When Evans was not on the Wecoma, Dan Murphy monitored the sensors. A buoy was recovered and a new one was deployed, and an anchor and a glider were recovered. Water samples were collected in the Columbia River at Beaver Army dock, in its estuary and plume, and in the Washington and Oregon coastal zone (Lines: NH, SH, CR, CH, LP). Unloading took place on 19 Nov 2007.

Daily Log:

09-Apr. The ship was loaded at the Hatfield Marine Science Center dock in Newport, OR. Coring equipment was not loaded. Rad van is located on the main deck. Two new sensors were added: an ISUS to the CTD rosette and a cDOM to the flow-thru.

10-Apr. Chris Holm arrived at 07:15. Leaving dock for NH-10 at 08:55. Scientists on board: Herfort, Green, Evans, Risien, Waldorf, Levine, Rivas, DeLorenzo, Seaton, Selby, Huguet, O’Gorman, Holm, Needoba. Safety training at 09:15. Murray’s mooring was deployed without incident. However, we could not retrieve Mike Korso’s mooring. We did 2 dragging exercise to try to recover it but that was unsuccessful. After talking to Mike on the phone at 20:00 we decided to deploy the ADCP 600m south of the original coordinates. At 22:30 we were back in Newport. Off loaded the mooring equipment and loaded the coring equipment. Ricardo Letellier’s equipment was also loaded. Chris Moser joined the ship, while Chris Holm left.

11-Apr. Murray Levine, Walt Waldorf and Graig Riesen, left Wecoma at 05:00. Wecoma left Newport dock for NH-10 at 06:00. We did 4 CTDs at NH-10. Finished CTDs at 10:10. Coring with multicore at NH-10 at 10:45. Because we spend a lot of time at NH-10, I decided to skip stations NH-1, NH-a, NH-b and NH-c. At station NH-15 we only did a CTD (no water). At NH-10, speed for CTD deployment was 30 m/min. from NH-5 on the speed was25 m/min. There was some confusion with the CTD with BP and flow cytometry samples, so NH-3 bottom was sampled in duplicates and labeled 246 and 247. The sub-surface chlorophyll max was labeled 248 instead of 247. Bottom sample at NH-3 was labeled 248a. Joe has decided to freeze his samples rather than analyzing them on board of the ship, because of time constraint. Sediments from 0-1, 1-2, 2-3, 3-4 and 4-5 cm were sampled for lipids and DNA analysis. Arrive at NH-55 at 22:30, did 1000m depth, 2 m depth, and 1000m depth. The 2nd deep cast at 1000m depth is for Suzanne DeLorenzo SIP incubations.

12-Apr. We travelled from NH-10 to SH-70. Started sampling at NH-70 at 07:00. At SH-70, we did 4 CTDs at SH-70. We finished CTDs at 10:10 and coring with multicore at NH-10 at 10:45.  We did a depth profile for Joe at SH-70. Needed to look at tomorrow’s forecast on cruise planner to decide on the sampling location in the South Channel on 13 April. Unfortunately we could not access the pigeon drop or the cruise mapper in the afternoon. Though in late afternoon Charles manage to get the info from the Pigeon drop. So, Charles called Joseph to get some way point for tomorrow’s work of salinity gradient. We collected water (surface, bottom and sub-surface chl max) for Joe to get some sample to set his spectrophotometer. On our way to Astoria we do CTDs only at LB-50, CH-2, CM-3 and CF-3. At 07:00, Wiley realized that the computer of his instrument had been off for 2 hours. He re-set his computer and it worked well all day.

13-Apr. We travelled to the South Channel of the Columbia River estuary and starting sampling at station St1 (46 13.125 – 123 45.944) at 07:22. At St1, 3 casts were done, including a depth profile for Joe (Primary production incubations at 2 &10 m depth). Sailed to St2 (46 13.144 – 123 45.924), where we did 1 CTD collecting surface and bottom water. In total the following salinities were collected in the morning: 0, 5, 10, 15, 24 PSU. We used the multicore to collect samples at both St1 and St2, using 600 pounds of lead bricks and only 4 tubes. We only collected the surface fluff layer since the South Channel is heavily dredged.  Also collect on anoxic sediment pocket from St2.  Until the next slack tide (around 17:00) we transited from St2 to down river, turning at 46 13.8 – 123 58.2 to sail up-river to 46 14.34 – 123 48.18, where we turn at 14:27 towards St2. (careful captain calls St2, St3). Since we are in the estuary, Wiley has to keep a close watch to his system and often has to clean his filter. 17:00 afternoon slack tide CTD at St2. Collected water at 9m depth (1.3 PSU). Then sailed to the North Channel of the estuary (NC-11), next to Saturn 01. SPM was not collected for this morning casts. POC/SPM filters were done in the afternoon at station St2 (sample # 267). Leave at 17:15 to NC-11.  Multicore at NC-11 at 19:45. CTDs (no water) at 22:00 and 22:30. Then left for Beaver Army dock.

14-Apr. At 06:35, CTD at Beaver Army dock collecting surface and Bottom water for Microbiology group and Huguet (Beaver1). Depth profile for Joe (Beaver 2) at 07:00, water used for Primary production. At 07:40 another CTD cast to collect surface water for Microbiology group. Coring with Multicore at 08:17 and 08:30 (no fluff layer because too sandy). Joe used the surface water from cast Beaver 3 (W0804A_cast046) for his salinity experiment. Suzanne added bicarbonate to two of her incubation bottles at 08:30. Wiley’s filter still needs to be cleaned often. Received from Joseph all the coordinates for the plume feature tracking of this afternoon and night. Incubated Beaver Army Dock surface water from cast Beaver 3 (W0804A_cast046) for Crenarchaeota cell counts (bottles incubated at 7 oC in dark), T=0=10:00. 11:30 reset Fluorometer, CDOM sensor and Transmisomitor, which add not been working for 2 hours. Left Beaver Army dock for the Plume. Passed Columbia River bar at 13:30.  We could not do any CTD at the first two stations that Joseph send for Plume Tracking exercise, because this was very close to the Columbia River bar and thus too bumpy. We samples 2 sites on the plume (plume 1 & plume 2), were the microbiology collected water at 4 depth for each and Joe did a full depth profile at both sites. ISUS was cleaned after Cast 53. Tonight we have to discharge waste water so we had to skip some station. We will resume feature tracking (CTD only) once discharging is finished. We arrived very early at site plume 3 (46 25.527, 124 09.178) so we did CTDs every 30 min until official sampling time. We did CTDs at 6 plume sites in total.

15-Apr. At 06:15, first CTD on the Columbia River line (CR-4). CR-30 is listed as being 600 meters in Murray’s spread sheet, while in reality it is 323m.

16-Apr. At 06:00, first CTD on the LaPush line (LP-4). Did a CTD at LP-4 and 22, collected water at LP-6 and 17. According to Wiley flow trough sensors between LP-6 and LP-17 we crossed a large front, so decided to go pass by the front again on the way back from south (so sailed west from LP-22 to LP-6 and the south). We passed NH-10 on the way back to compare the data from instruments from Wiley’s flow through and those of the buoy. We tried to recover the anchor of Mike Korso ADCP, but were unsuccessful. We arrived at Newport at 08:30 and started unloading.

II. Methods

Chemistry and Fixations

Set Up/Notes:

- Assemble two filtering racks with 25mm diameter funnels, six filters per tower

- Attach two side-arm flasks to two of the funnels for water collection

- Attach tubing to vacuum pump and carboy. Be sure pump pressure does not exceed 5 mmHg when filtering

- Be sure to empty collection carboy regularly

- For liquid nitrogen, make sure dewar is open for minimal amounts of time. Be sure to replace styrofoam insert and plastic lid after each use

- After each water sample all funnels, frits, flasks, bottles, and cylinders should be rinsed with D.I. water

Labeling:

- Label all vials, bottles, etc. with the following:

  - Water sample number

  - Sample Site

  - Date

  - Replicate if applicable

Chlorophyll a: Collect duplicate samples

- Place 25mm GF/F filter (rough side up, grid down) on filter frit & screw down funnel

- Collect sample using brown Nalgene bottles. Rinse bottles and lids three times with sample before collection

- Using a sample-rinsed graduated cylinder, measure exact volumes of sample and pour into funnel. Record total volume filtered (Generally 100 ml is filtered. A sufficient volume has been filtered when a visible green or brown color is apparent on the filter. In highly productive coastal areas at the surface, you may end up filtering only 25-50 ml.)

- After filtration, fold filter in half with tweezers and place in pre-labeled 2ml cryovial

- All cyrovials are stored in liquid nitrogen dewar in designated color coded cups

High Pressure Liquid Chromatography (HPLC):

- Filtration is performed under subdued light conditions

- Place 25mm GF/F filter (rough side up, grid down) on filter frit & screw down funnel

- Collect sample directly from Niskin bottle using brown Nalgene bottles. Rinse bottles and lids three times with sample before collection

- Using a sample-rinsed graduated cylinder, measure exact volumes of sample and pour into funnel. Record total volume filtered (~1 to 4 liters)

- After filtration, fold filter in half with tweezers and place in pre-labeled 2ml cryovial

- All cyrovials are stored in liquid nitrogen dewar in designated color coded cups

- If water sample depth is below photic zone, no need to perform HPLC measurement

Particulate Organic Carbon (POC): Collect duplicate samples

- Place a pre-ashed 25mm GF/F filter (rough side up, grid down) on filter frit & screw down funnel

- Attach side arm flasks to POC filtering frits for water collection

- Using a sample-rinsed graduated cylinder, collect sample and measure exact volumes into funnel. Record total volume filtered (~1 to 4 liters)

- After filtration, fold filter in half with tweezers and place in a pre-labeled envelope

- Store envelopes in freezer in a small Ziploc bag labeled with site and sampling date

Suspended Particulate Matter (SPM): Collect during estuary and plume sampling only. Collect duplicate samples

- For SPM measurements, 25mm GF/F filters are pre-dried, weighed and stored in 47mm Petri-dishes.

- Place a pre-weighed 25mm GF/F filter (rough side up, grid down) on filter frit & screw down funnel

- Using a sample-rinsed graduated cylinder, collect sample and measure exact volumes into funnel. Record total volume filtered

- After filtration, rinse filter three times with D.I. water

- Return filter to Petri dish using tweezers and stored in freezer

- Be sure to place entire filter back into Petri dish, including bits that break off

Flow Cytometry:

- Collect sample in a small brown Nalgene bottle. Rinse bottle and lid three times with sample before collection

- Pipette 3 mL of sample into 5 mL cryovial using pipette labeled “LIVE”

- Under fume hood, pipette 100 uL of paraformaldehyde solution into cyrovial.  Be sure to wear gloves!

- Vortex and place in dark (e.g., lab drawer) for 10 min

- Place sample in liquid nitrogen

Bacterial Counts (Glutaraldehyde)

- Pre-load 7 mL glass vials with 0.5 ml of 25% glutaraldehyde

- Under fume hood, pipette 7 mL of sample (collected in small brown Nalgene bottle) into vial and cap. Be sure not to touch pipette to edge of glutaraldehyde vial!

- Store filled vials in refrigerator

Filtered Water Collection: TDN/P, DOC, Nutrients

- Attach side arm flasks under 25mm GF/F filters that have been ashed (i.e., under POC filters) to collect water

- Collect filtered water in flask, sample rinse once, and continue collecting

- Once enough water has been collected, fill pre-labeled sample bottles

- DOC: fill to shoulder of bottle (20ml polypropylene vial)

- Nutrients: fill to shoulder of bottle (Provided by OSU analytical services)

- TDN/P: pipette exactly 20 mL into bottle (Provided by UMCES Horn Point Analytical Services)

- Place all bottles in freezer

DNA/RNA Sterivex Filtration Protocol Using Geopumps

Set up/Notes:

- Assemble Geopump with desired number of heads (1-3)

- Label Sterivex filters by water sample number, sample site ID, date, and type of fixative/solutions/buffers to be added post-filtration.

- Save some 0.2um filtered sea-water for rinsing the tubing after filtration.

- Rinse the tubing with filtered sea-water following each sample.

- Sample rinse the tubes before attaching the Sterivex filters for the next sample.

- Attach Sterivex filters to 10ml syringe tip ends inserted into tubing and set up over a 3L beaker (or other measuring device) to keep track of the amount of water filtered.

- The opposite end of the tubing should be fixed with dipsticks (10ml pipettes) which will be inserted into sample water.

  - These should be changed every 2-3 days or when varying the type of water being filtered.

Procedure:

- After checking to be sure set up is properly completed and tubing is sample rinsed, turn Geopump on in forward pump direction.

- Keep track of the amount of water filtered using a 3L beaker (or other measuring device)

- Allow filters to pump desired amount of water, note however these volumes may need to be adjusted depending on individual samples, in general:

  - Estuaries and Turbid Systems: 1L

  - Seawater: 3-6L

  - Deepwater Samples (approx 1000L): 6L+

- Once filtrated water flowing through the Sterivex comes to a slow trickle (or the desired filtration amount is achieved) remove dipsticks from sample water and allow any water still in the Sterivex to be flushed out.

- Remove Sterivex filters from tubing and push out any remaining water using a 50ml syringe full of air.

- Seal bottom of Sterivex filter using Hemato-Seal Tube Sealing Compound

- With another syringe add desired fixative/solutions/buffers:

  - DEB: 1 ml (approx. ½ tube) filtered with 0.2um syringe filter

  - RNALater: 2 ml (approx. full tube)

- Cap the top of the Sterivex filter with autoclaved polycarbonate luer plug.

- Place the filters in a plastic Ziploc freezer bag labeled with the water sample number, sample site ID, and date and store at -80oC.

Fluorescence In Situ Hybridization (FISH) Protocol

Set up/Notes:

- Wear latex gloves.

- Label 1 50Ml Falcon tube

  - Date

  - “FISH”

  - Station ID

  - Volume Filtered

  - Water Sample Number

  - Surface, chlorophyll max (middle), bottom (S, M, B), or other depth

Procedure:

- Add 40ml of sample water into a 50 ml Falcon tube

- Add 1.2ml of formalin

- Close, shake and let stand for 1 hour at room temperature

- Place Flacon tube in plastic bag and store at -80oC.

Bacteria Production measurements

Set up/Notes:

- Prepare working solution of 3-H Leucine

- Pre-load 2ml microcentrifuge tubes with enough 3-H L-leucine working solution to make the final concentration 20 nM.

- Double rinse and fill 250 ml dark bottles with water from each depth directly from the niskin bottles

Procedure:

- Change shoes when entering rad van.

- Set temperature of incubators.  The temperature on the incubators can be set using the + and – buttons.  Press “MENU” to enter change and “+” to validate.  Although most of the water samples have been from 3 depths, the bottom and mid-depth have been close enough to use the same incubator for these.

- Record station name, sample depth, ambient water temperature and temperature at which each sample will be incubated.

- Put on gloves.

- Remove enough charged tubes from the fridge for the number of samples being incubated (3 live and one blank per sample) and place in plastic rack in workspace.  Live tubes have red caps and killed controls (100ul TCA) have blue caps.  Process samples for BP so that the deep sample at each station goes in the lowest number tubes, then mid-depth, then surface. Uncap all tubes and line up caps next to rack.

- Place large (25ml) pipette tip on the Eppendorf pipettor and set dial to “3”. Draw sample water directly from sample bottle until barrel is about half full. Discharge sample twice to clear pipette tip.

- Note time. Begin loading the first tube at an even minute interval.  Pipette 1.5ml of sample into each of the 4 tubes for each sample.  Use caution when loading the blank so as not to splash TCA back onto the pipette tip.  It works best to add sample at an angle down the side of the microcentrifuge tube (not straight down into bottom) to avoid backsplash.

- Between each sample, fill the pipette barrel with DI and discharge into waste cup to rinse.

- When all tubes are filled, cap and vortex each one and place in the racks located in each of the incubation chambers.  Try to incubate samples within 1 degree of ambient water temperature.

- Remove pipette tip and place in stand. Remove gloves. Record start time in notebook.  Set timer for 55 minutes.

- Remove tubes from incubation chamber a few minutes before anticipated stop time.  Remove caps of all live tubes. Place 5ml pipette tip on pipettor (marked 100% TCA) and set dial to “1”.  (NOTE: sometimes if there is a little TCA left in the tube when you attach it to the pipettor it will squirt out.  I usually point it into the solid waste bag).

- Fill pipette with TCA.  Start adding 100ul TCA to tubes at an even minute interval. When all tubes are filled, cap and vortex each one.  Place killed samples in the racks located in the refrigerator.

- Remove pipette tip and place in stand. Remove gloves. Record end time in notebook.

Lipid  -water samples:

- 40 liters of water from top and bottom will be collected and stored in Nalgene 20 L carboys.

- The water will be filtered through 60, 0.7 and 0.2 micron filters. The filters are mounted on line and there would be three lines for each bottom and surface.

- Filters will be stored in combusted tinfoil at -20 degrees C.

Sediment sampling:

Corer

- Sediments will be collected and bought on deck.

- Top fluff layer will be pipetted (disposable pipettes) into falcon tubes. The cores will be extruded from cylinders in 1 cm slices (The first 5 cm will be taken). 1 will be used for DNA and the other 3 for chemical analysis (both lipids and 14C dating)

- The DNA slices will be stored in 50 ml Falcon tubes and 10 ml of RNAlater will be added and stored at -80 degrees C. The chemical samples will be stored in Ziploc bags at -20 degrees C.

Grab sample-Box Corer

- Sediment will be collected and brought on deck.

- 1 cm sampling rings will be inserted at surface and the sample will be collected in bags with the help of spatulas.

- The sample will be divided in one for DNA and 3 for chemical (both lipids and 14C dating).

- The first 5 cm will be used.

- The DNA slices will be stored in 50 ml Falcon tubes and RNAlater will be added and stored at -80 degrees C. The chemical samples will be stored in Ziploc bags at -20 degrees C.

Surface Water CO2 Mapping, Wiley Evans

During this cruise, underway measurements of surface water pCO2, dissolved oxygen, chlorophyll fluorescence, beam transmission, temperature and salinity were obtained. This cruise offered an excellent opportunity to capture the variability of these parameters at the start of spring 2008. Seawater from the flow-through system and a GPS feed were both provided by the ship.

III. Contact Information

Principal personal		e-mail					Field of Work

Dr. Byron Crump		bcrump@hpl.umces.edu		microbiology

Dr. Murray Levine		levine@coas.oregonstate.edu		physical oceanography

Dr. Jack Barth			barth@coas.oregonstate.edu		physical oceanography

Dr. Burke Hales		bhales@coas.oregonstate.edu 	biogeochemistry

Dr. Ricardo Letelier 		letelier@coas.oregonstate.edu 	biogeochemistry

Dr. Peter Zuber (co PI) 	pzuber@ebs.ogi.edu 			microbiology

Dr. Antonio Baptista (PI)	baptista@stccmop.org 		physical oceanography

Dr. Roger Samelson               rsamelson@coas.oregonstate.edu       physical oceanography

On the cruise:

Faculty

Dr. Murray Levine		levine@coas.oregonstate.edu		physical oceanography

Dr. Joe Needoba		Needoba@ens.ogi.edu 		biogeochemistry

Post-doctoral Researcher						Supervisor

Dr. Lydie Herfort 		herfortl@ebs.ogi.edu 			Zuber

Dr. David Rivas                      drivas@coas.oregonstate.edu             Roger Samelson

Students								Supervisor

Suzanne DeLorenzo 		delorenz@ebs.ogi.edu 		Tebo / Zuber

Wiley Evans 			wevans@coas.oregonstate.edu 	Hales

Charles Seaton 		cseaton@stccmop.org			Baptista

Research Assistants							Supervisor

Joanna Green			jgreen@hpl.umces.edu		Crump

Walter Waldorf 		waldorf@coas.oregonstate.edu 	Levine

Craig Risien			crisien@coas.oregonstate.edu 	Barth / Levine

Mikaela Selby			selbym@ebs.ogi.edu			Zuber

Chris Holm 			cholm@coas.oregonstate.edu        	Chase

Land support:

Faculty

Joseph Zhang 			yinglong@stccmop.org

Post-doctoral Researcher						Supervisor

Dr. Bill Howe	 		 howeb@stccmop.org 		Baptista

Research Assistants							Supervisor

Paul turner			pturner@stccmop.org			Baptista

- Tables and Figures

Figure 1.  All CTD cast locations.

Figure 2.  CTD cast locations in the estuary and plume region.

Station locations:

| seabird filename | bathymetry | lat. | long. | Local Time | day | standard site name |
| --- | --- | --- | --- | --- | --- | --- |
| Cast001 | 80 | 44 39.113 | 124 17 747 |  | 11 | NH-10 |
| cast002 | 80 | 44 39 083 | 124 17 698 | 8:20 | 11 | NH-10 |
| Cast003 | 80 | 44 39 075 | 124 17 661 | 9:15 | 11 | NH-10 |
| Cast004 | 80 | 44 39 083 | 124 17 660 | 9:55 | 11 | NH-10 |
| Cast005 | 56 | 44 39 087 | 124 10 623 |  | 11 | HN-5 |
| Cast006 | 46.5 | 44 39 0096 | 124 07683 | 12:12 | 11 | NH-3 |
| Cast007 | 46.57 | 44 39005 | 124 07 605 | 12:50 | 11 | NH-3 |
| Cast008 | 46.16 | 4439 072 | 124 07 622 | 13:20 | 11 | NH-3 |
| W0804A_Cast009 | 93 | 44 39 112 | 124 24 829 | 15:20 | 11 | NH-15 |
| W0804A_Cast010 | 144 | 44 39 023 | 124 31 793 | 16:42 | 11 | NH-20 |
| W0804A_Cast011 | 144 | 44 39 070 | 124 31 770 | 17:30 | 11 | NH-20 |
| W0804A_Cast012 | 294 | 44 39 050 | 124 39 136 | 18:50 | 11 | NH-25 |
| W0804A_Cast013 | 710 | 44 39.090 | 125 07.000 | 21:00 | 11 | NH-45 |
| W0804A_Cast014 | 2889 | 44 39.152 | 125 21.986 | 22:35 | 11 | NH-55 |
| W0804A_Cast015 | 2889 | 44 39.111 | 125 21.987 | 23:49 | 11 | NH-55 |
| W0804A_Cast016 | 2890 | 44 39.107 | 125 22.038 | 0:19 | 12 | NH-55 |
| W0804A_Cast017 | 72.9 | 44 15 104 | 124 15 134 | 7:00 | 12 | SH-70 |
| W0804A_Cast018 | 72.88 | 44 15 113 | 124 15 122 | 7:35 | 12 | SH-70 |
| W0804A_Cast019 | 71.61 | 44 15 066 | 124 15 091 | 8:00 | 12 | SH-70 |
| W0804A_Cast020 | 71.83 | 44 15 096 | 124 15 134 | 8:30 | 12 | SH-70 |
| W0804A_Cast021 | 11.2 | 44 15 088 | 124 07 482 | 10:05 | 12 | SH-10 |
| W0804A_Cast022 | 15 | 44 15 087 | 124 07 085 | 10:25 | 12 | SH-15 |
| W0804A_Cast023 | 24 | 44 15 099 | 124 08 041 | 10:37 | 12 | SH-30 |
| W0804A_Cast024 | 40.6 | 44 15 104 | 124 09 025 | 11:05 | 12 | SH40 |
| W0804A_Cast025 | 49.4 | 44 15 115 | 124 10 104 | 11:25 | 12 | SH-50 |
| W0804A_Cast026 | 60 | 44 15 102 | 124 13 085 | 11:48 | 12 | SH-60 |
| W0804A_Cast027 | 70 | 4415 130 | 124 15 217 | 12:25 | 12 | SH-70 |
| W0804A_Cast028 | 80 | 44 15 114 | 124 19 614 | 13:07 | 12 | SH-80 |
| W0804A_Cast029 | 90 | 44 15 102 | 124 23 507 | 13:50 | 12 | SH-90 |
| W0804A_Cast030 | 99.5 | 44 15 080 | 124 27 681 | 14:30 | 12 | SH-100 |
| W0804A_Cast031 | 100 | 44 15 073 | 124 27 672 | 15:07 | 12 | SH-100 |
| W0804A_Cast032 | 48 | 44 39 086 | 124 07 832 | 17:51 | 12 | NH-3 |
| W0804A_Cast033 | 55 | 44 51.406 | 124 06.137 | 19:25 | 12 | LB-50 |
| W0804A_Cast034 | 60 | 45 03.013 | 124 04.503 | 20:52 | 12 | CH-2 |
| W0804A_Cast035 | 61 | 45 28.991 | 124 02.240 | 23:48 | 12 | CM-3 |
| W0804A_Cast036 | 59 | 45 43.944 | 124 01.551 | 1:30 | 13 | CF-3 |
| W0804A_Cast037 | 19.2 | 46 13 125 | 123 45 944 | 7:22 | 13 | St1 |
| W0804A_Cast038 | 19.8 | 46 13 144 | 123 45 924 | 8:00 | 13 | St1 |
| W0804A_Cast039 | 18.9 | 46 13 147 | 123 45 | 8:30 | 13 | St1 |
| W0804A_Cast040 | 14.2 | 46 11 959 | 123 49 156 | 9:50 | 13 | St2 |
| W0804A_Cast041 | 13.15 | 46 11 941 | 123 49 141 | 17:00 | 13 | St2 17:00 |
| W0804A_Cast042 | 21 | 46 14.050 | 123 52.505 | 22:00 | 13 | NC-11 |
| W0804A_Cast043 | 21.3 | 46 14.046 | 123 52.496 | 22:36 | 13 | NC-11 |
| W0804A_Cast044 | 20.7 | 46 11 016 | 123 11 232 | 6:35 | 14 | Beaver1 |
| W0804A_Cast045 | 19.8 | 46 11 003 | 123 11 243 | 7:00 | 14 | Beaver2 |
| W0804A_Cast046 | 20 | 46 11 010 | 123 11 185 | 7:40 | 14 | Beaver3 |
| W0804A_Cast047 | 48 | 46 16 941 | 124 12 790 | 15:10 | 14 | Plume 1 |
| W0804A_Cast048 | 48 | 46 17 006 | 124 12 891 | 15:50 | 14 | Plume 1 |
| W0804A_Cast049 | 48 | 46 17 006 | 124 12 891 | 16:00 | 14 | Plume 1 |
| W0804A_Cast050 | 48 | 46 17 039 | 124 12 862 | 16:30 | 14 | Plume 1 |
| W0804A_Cast051 | 75 | 46 21 399 | 124 17 834 | 18:00 | 14 | Plume 2 |
| W0804A_Cast052 | 75 | 46 21 370 | 124 17 185 | 18:40 | 14 | Plume 2 |
| W0804A_Cast053 | 75 | 46 21 406 | 124 17 809 | 19:10 | 14 | Plume 2 |
| W0804A_Cast054 | 30.5 | 46 25.527 | 124 09.178 | 21:33 | 14 | Plume 3 |
| W0804A_Cast055 | 31 | 46 25.495 | 124 09.227 | 22:08 | 14 | Plume 3 |
| W0804A_Cast056 | 31 | 46 25.457 | 124 09.217 | 22:42 | 14 | Plume 3 |
| W0804A_Cast057 | 30 | 46 25.590 | 124 09.265 | 23:02 | 14 | Plume 3 |
| W0804A_Cast058 | 30 | 46 25.586 | 124 09.338 | 23:31 | 14 | Plume 3 |
| W0804A_Cast059 | 30 | 46 25.607 | 124 09.243 | 0:01:00 | 15 | Plume 3 |
| W0804A_Cast060 | 30 | 46 25.605 | 124 09.298 | 0:31 | 15 | Plume 3 |
| W0804A_Cast061 | 24 | 46 21.054 | 124 08.514 | 1:48 | 15 | Plume 4 |
| W0804A_Cast062 | 24 | 46 21.070 | 124 08.471 | 2:12 | 15 | Plume 4 |
| W0804A_Cast063 | 23 | 46 19.128 | 124 08.563 | 3:15 | 15 | Plume 5 |
| W0804A_Cast064 | 34 | 46 16.416 | 124 10.863 | 5:00 | 15 | Plume 6 |
| W0804A_Cast065 | 29.5 | 46 09.997 | 124 04.542 | 6:12 | 15 | CR-4 |
| W0804A_Cast066 | 58 | 46 09.933 | 124 09.576 | 6:55 | 15 | CR-7 |
| W0804A_Cast067 | 58 | 46 10 000 | 124 9 421 | 7:25 | 15 | CR-7 |
| W0804A_Cast068 | 58 | 46 10 022 | 124 09 547 | 8:15 | 15 | CR-7 |
| W0804A_Cast069 | 80 | 46 09 999 | 124 13 081 | 9:20 | 15 | CR-10 |
| W0804A_Cast070 | 115 | 46 09 991 | 124 20 013 | 10:05 | 15 | CR-15 |
| W0804A_Cast071 | 114 | 46 10 010 | 124 19 940 | 10:40 | 15 | CR-15 |
| W0804A_Cast072 | 135 | 46 10 013 | 124 27 097 | 11:59 | 15 | CR-20 |
| W0804A_Cast073 | 150 | 46 10 016 | 124 33 310 | 12:52 | 15 | CR-25 |
| W0804A_Cast074 | 322 | 46 10 011 | 124 40 202 | 14:00 | 15 | CR-30 |
| W0804A_Cast075 | 328 | 46 10 011 | 124 40 145 | 14:45 | 15 | CR-30 |
| W0804A_Cast076 | 880 | 46 09 973 | 124 54 619 | 16:25 | 15 | CR-40 |
| W0804A_Cast077 | 880 | 46 09 988 | 124 54 607 | 17:30 | 15 | CR-40 |
| W0804A_Cast078 | 880 | 46 09 987 | 124 54 611 | 18:35 | 15 | CR-40 |
| W0804A_Cast079 | 880 | 46 10 010 | 124 54 571 | 19:00 | 15 | CR-40 |
| W0804A_Cast080 | 881 | 46 09.995 | 124 54.516 | 19:26 | 15 | CR-40 |
| W0804A_Cast081 | 35 | 47 55.011 | 124 44.460 | 6:09 | 16 | LP-4 |
| W0804A_Cast082 | 55 | 47 54.970 | 124 47.636 | 6:47 | 16 | LP-6 |
| W0804A_Cast083 | 55 | 47 54 955 | 124 47 614 | 7:20 | 16 | LP-6 |
| W0804A_Cast084 | 56 | 47 55 037 | 124 47 650 | 7:52 | 16 | LP-6 |
| W0804A_Cast085 | 138 | 47 55 027 | 125 04 971 | 9:30 | 16 | LP-17 |
| W0804A_Cast086 | 138 | 47 54 995 | 125 04 990 | 10:13 | 16 | LP-17 |
| W0804A_Cast087 | 139 | 47 54 992 | 125 05 046 | 10:50 | 16 | LP-17 |
| W0804A_Cast088 | 181 | 47 55 012 | 125 11 489 | 11:45 | 16 | LP-22 |

Sampling sites:

| seabird filename | Sampling depth | bottle | Sample # |  | Micro | Joe | SIP | Carme |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cast001 | 75 | 1 to 12 | 243a | NH-10 |  |  | x | X |
| Cast002 | various | 1 to 12 | 243b | NH-10 |  | x |  |  |
| Cast003 | 75 | 1 to 6 | 243 | NH-10 | X |  |  |  |
| Cast003 | 17 | 7 to 12 | 244 | NH-10 | X |  |  |  |
| Cast004 | 2 | 2 to 12 | 245 | NH-10 | X |  |  | x |
| Cast004 | 50 | 1 | 245a | NH-10 |  | x |  |  |
| Cast006 | 40 | 1 to 12 | 246 | NH-3 | x | x |  | x |
| Cast007 | 24 | 1 to 12 | 247 | NH-3 | x | x |  |  |
| Cast008 | 2 | 1 to 12 | 248 | NH-3 | x | x |  | x |
| W0804A_Cast010 | 139 | 1 to 6 | 249 | NH-20 | x | x |  |  |
| W0804A_Cast010 | 10 | 7 to 12 | 250 | NH-20 | x | x |  |  |
| W0804A_Cast011 | 2 | 1 to 7 | 251 | NH-20 | x | x |  |  |
| W0804A_Cast014 | 1000 | 1 to 12 | 252 | NH-55 | x | x |  | x |
| W0804A_Cast015 | 2 | 1 to 12 | 253 | NH-55 | x | x |  | x |
| W0804A_Cast016 | 1000 | 1 to 12 | 253a | NH-55 |  |  | x |  |
| W0804A_Cast017 | 67 | 1 to 12 | 254 | SH-70 | x |  |  | x |
| W0804A_Cast018 | 20 | 1 to 7 | 255 | SH-70 | x |  |  |  |
| W0804A_Cast019 | 2 | 1 to 12 | 256 | SH-70 | x |  |  | x |
| W0804A_Cast020 | various | 1 to 12 | 256a | SH-70 |  | x |  |  |
| W0804A_Cast023 | 21 | 1 to 6 | 257 | SH-30 | x |  |  |  |
| W0804A_Cast023 | 2 | 7 to 12 | 258 | SH-30 | x |  |  |  |
| W0804A_Cast030 | 95 | 1 to 6 | 259 | SH-100 | x | x |  |  |
| W0804A_Cast030 | 30 | 7 to 12 | 260 | SH-100 | x | x |  |  |
| W0804A_Cast031 | 2 | 1 to 7 | 261 | SH-100 | x | x |  |  |
| W0804A_Cast032 | 44 | 1, 2 | 261a | NH-3 |  | x |  |  |
| W0804A_Cast032 | 20 | 3, 4 | 261b | NH-3 |  | x |  |  |
| W0804A_Cast032 | 2 | 5, 6 | 261b | NH-3 |  | x |  |  |
| W0804A_Cast037 | various | 1 to 12 | 262a | St1 |  | x |  |  |
| W0804A_Cast038 | 17 | 1 to 6 | 262 | St1 | x |  |  | x |
| W0804A_Cast038 | 8 | 7 to 12 | 263 | St1 | x |  |  | x |
| W0804A_Cast039 | 2 | 1 to 12 | 264 | St1 | x |  |  | x |
| W0804A_Cast040 | 12 | 1 to 6 | 265 | St2 | x |  |  | x |
| W0804A_Cast040 | 9 | 7 to 12 | 266 | St2 | x |  |  | x |
| W0804A_Cast041 | 9 | 1 to 12 | 267 | St2 | x | x |  |  |
| W0804A_Cast044 | 18 | 1 to 6 | 268 | Beaver1 | x |  |  | x |
| W0804A_Cast044 | 2 | 7 to 12 | 269 | Beaver1 | x |  |  | x |
| W0804A_Cast045 | various | 1 to 12 | 269a | Beaver2 |  | x |  |  |
| W0804A_Cast046 | 2 | 1 to 6 | 270 | Beaver3 | x |  |  |  |
| W0804A_Cast047 | 45 | 1 tp 6 | 271 | Plume 1 | x |  |  | x |
| W0804A_Cast047 | 20 | 7 to 12 | 272 | Plume 1 | x |  |  | x |
| W0804A_Cast049 | various | 1 to 12 | 272a | Plume 1 |  | x |  |  |
| W0804A_Cast050 | 10 | 1 to 6 | 273 | Plume 1 | x |  |  | x |
| W0804A_Cast050 | 2 | 7 to 12 | 274 | Plume 1 | x |  |  | x |
| W0804A_Cast051 | 70 | 1 to 7 | 275 | Plume 2 | x |  |  | x |
| W0804A_Cast051 | 16 | 8 to 12 | 276 | Plume 2 | x |  |  |  |
| W0804A_Cast052 | 8 | 1 to 5 | 277 | Plume 2 | x |  |  |  |
| W0804A_Cast052 | 2 | 6 to 12 | 278 | Plume 2 | x |  |  | x |
| W0804A_Cast053 | various | 1 to 12 | 278a | Plume 2 |  | x |  |  |
| W0804A_Cast066 | 54 | 1 to 6 | 279 | CR-7 | x |  |  | x |
| W0804A_Cast066 | 5 | 7 to 2 | 280 | CR-7 | x |  |  |  |
| W0804A_Cast067 | various | 1 to 12 | 280a | CR-7 |  | x |  |  |
| W0804A_Cast068 | 12 | 1 to 5 | 281 | CR-7 | x |  |  |  |
| W0804A_Cast068 | 2 | 6 to 12 | 282 | CR-7 | x |  |  | x |
| W0804A_Cast070 | 107 | 1 to 7 | 283 | CR-15 | x |  |  | x |
| W0804A_Cast070 | 67 | 8 to 12 | 284 | CR-15 | x |  |  |  |
| W0804A_Cast071 | 2 | 1 to 7 | 285 | CR-15 | x |  |  | x |
| W0804A_Cast074 | 315 | 1 to 4 | 286 | CR-30 | x |  |  |  |
| W0804A_Cast074 | 12 | 5 to 8 | 287 | CR-30 | x |  |  |  |
| W0804A_Cast074 | 2 | 9 to 12 | 288 | CR-30 | x |  |  |  |
| W0804A_Cast075 | various | 1 to 12 | 288a | CR-30 |  | x |  |  |
| W0804A_Cast077 | 850 | 1 to 9 | 289 | CR-40 | x | x |  | x |
| W0804A_Cast077 | 600 | 10 | 289a | CR-40 |  | x |  |  |
| W0804A_Cast077 | 300 | 11 | 289b | CR-40 |  | x |  |  |
| W0804A_Cast077 | 200 | 12 | 289c | CR-40 |  | x |  |  |
| W0804A_Cast078 | 25 | 1 to 3 | 290 | CR-40 | x |  |  |  |
| W0804A_Cast079 | 25 | 1, 2 | 290a | CR-40 | x |  |  |  |
| W0804A_Cast079 | 2 | 3 to 9 | 291 | CR-40 | x |  |  | x |
| W0804A_Cast080 | various | 1 to 12 | 292a | CR-40 |  | x |  |  |
| W0804A_Cast082 | 51 | 1 to 10 | 292 | LP-6 | x |  |  | x |
| W0804A_Cast083 | 2 | 1 to 10 | 293 | LP-6 | x |  |  | x |
| W0804A_Cast084 | various | 1 to 12 | 293a | LP-6 |  | x |  |  |
| W0804A_Cast085 | 134 | 1 to 9 | 294 | LP-17 | x |  |  | x |
| W0804A_Cast085 | 40 | 10 to 12 | 295 | LP-17 | x |  |  |  |
| W0804A_Cast086 | 40 | 1 to 3 | 295a | LP-17 | x |  |  |  |
| W0804A_Cast086 | 2 | 4 to 12 | 296 | LP-17 | x |  |  | x |
| W0804A_Cast087 | various | 1 to 12 | 296a | LP-17 |  | x |  |  |

Coring locations: